raining Guideline:

The training will be conducted in 2 sessions followed by a competency test. The user must make his/her notes and get corrected by the Trainer at the end of training. This will make the training process more efficient. At the end of training session 2, superuser will pass the user SOP.

Session 1:  (Duration 3 hours)

  - Microscopy:

- Basic principles of microscopy.

- Importance of good vacuum, stable temperature, minimal acoustics etc.

  - Brief introduction of different part of the Tool.

  - Working principle of HIM: Use the slides to explain under folder ‘D-drive/user/tranings/training_material”.

  - List of Checks: before start using the computer (previous logs, T, Vacuum, LN2 refilling etc).

  - Zen GUI: All the details under imaging tab and status bars.

  - Sample Holder details and its loading/unloading.

  - Sample mounting, height, tilt and rotation adjustment (do mention trainee the things not to do).

  - Use a standard gold sample for training. Use the other stubs to demonstrate sample mounting/unmounting.

  - Hands-on practice on sample loading to it transfer into main chamber.

  - How to best align the beam (Beam alignment, stigmatism correction, focus etc).

  - Imaging and hands-on practice

  - Email user manual of HIM.

  - Ask trainee to bring his sample for session 2

Session 2:  (Duration 3 hours)

  - Hands on practice of session 1 followed by how to use flood gun (use the non-conducting standard sample mounted next to gold film)

  - Patterning using Zen and hands-on practice.

  - Patterning using NPVE and hands-on practice

  - Correct the trainee’s SOP. Email ‘user SOP’ to trainee.

Competency test: (Duration 30 minutes)

Note: 1) Use the standard gold sample for training.

2) In case trainee did not qualify the competency test, the superuser will take extra training session.

*Competency test will be conducted by Manohar